## Slide 1: Progress Towards Electron-Gamma-Coincidence Experiments
G. Steinhilber, T. Klaus, P. von Neumann-Cosel, N. Pietralla, V. Ponomarev, J. Wambach
Supported by DFG within CRC 1245
Principle of (e,e‘γ)
Theoretical considerations
Gamma-decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 2: Outline
Principle of (e,e‘γ)
Theoretical considerations
Gamma-decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 3: Principle of (e,e’γ)
Inelastic nuclear excitation by electron scattering and coincident detection of prompt γ-decay
D.G. Ravenhall et al., Ann. Physics, 178 (1987)
Ex
Eγ
PWBA:

## Slide 4: (e,e’γ) Physics
Investigate structure and damping of GDR
    Gamma-decay properties not well known
    Gamma-branching largely unknown
    Lack of measurements with high energy resolution
Access new probe for nuclear currents
    Shift of angular distribution
Channel selectivity in (e,e') reaction
    Gate on E1, M1 and E2 transitions
    Select excited , , states

## Slide 5: Outline
Principle of (e,e‘γ)
Theoretical considerations
Gamma-decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 6: Theoretical Considerations
“Electric dipole excitation of 208Pb by polarized electron impact“, D.H. Jakubassa-Amundsen and V.Yu. Ponomarev, Eur. Phys. Jour. A 52 (2016) 48
“Coincident excitation and radiative decay in electron-nucleus collisions“, D.H. Jakubassa-Amundsen and V.Yu. Ponomarev, Phys. Rev. C 95 (2017) 024310
“Bremsstrahlung background in inelastic electron-nucleus collisions”, D.H. Jakubassa-Amundsen and A. Krugmann, J. Phys. G: Nucl. Part. Phys. 44 (2017) 045103
Comment on: "Spreading widths of giant resonances in spherical nuclei: Damped transient response", V.Yu. Ponomarev, Phys. Rev. C 97 (2018) 59801

## Slide 7: Outline
Principle of (e,e‘γ)
Theoretical considerations
Gamma-decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 8: Decay of Resonances
Study variation of direct vs. statistical decay as a function of Ex → fine structure of GDR
K=0
K=1
spherical nuclei
deformed nuclei

## Slide 9: Decay of Resonances
GDR γ-decay branching: ≈ 1 % J. R. Beene et al., Phys Rev. C (1990)
Relative branching from GDR to almost as strong as to ground state A. Krasznahorkay et al., Phys. Rev. Lett. 66 (1991)
GDR built on V.Yu. Ponomarev et al., Nucl. Phys. (1992)
Investigate γ-decay of GDR in 112,124Sn
208Pb(17O,17O'γ)

## Slide 10: Outline
Principle of (e,e‘γ)
Theoretical considerations
Gamma Decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 11: Rotation of the Angular Distribution
Pioneer experiment: rotation of angular distribution of in 12C
Determine relative shift → phase of FL and FT
Investigate rotation of angular distribution of and in 92Zr
C. N. Papanicolas et al., Phys. Rev. Lett. 54 (1985)

## Slide 12: Outline
Principle of (e,e‘γ)
Theoretical considerations
Gamma-decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 13: Needs
Electron beam
    Halo free
Electron spectrometer
    High acceptance
Gamma detectors
    Fast timing
Data Acquisitions (DAQ)
    Spectrometer (B02, M. Singer, Talk by J. Isaak)
    Gamma detector array

## Slide 14: S-DALINAC
Lintott
NEPTUN
QClam
M. Arnold, Dissertation, TU Darmstadt (2016)
Scraper
Injector
Main Accelerator
GALATEA
Gun
Also supported by GRK 2128

## Slide 15: Scraper
3m
e-
y halo
scraper
energy
scraper
x,y halo
scraper
L. Jürgensen, Dissertation (2018)
M. Dutine, M.Sc. Thesis (2018)

## Slide 16: QClam Spectrometer
Max. momentum: 200 MeV/c
Momentum acceptance: Δp/p = ± 10 %
Solid angle: 35 msr
Scattering angles: 25°-155°, 180° (B02, J. Isaak)
Energy resolution: ΔE/E ≈ 10-4
 Well suited for coincidence experiments
e

## Slide 17: QClam Status
Drift chambers refurbished and inserted (A. D’Alessio)
Cooling water completed
Electric cabling completed
Power supply remote control
Target ladder remote control
New Vacuum sensors (QClam and Lintott)
New turbopumps, vacuum completed
 Ready for raw data taking
e
1250 mm

## Slide 18: LaBr Setup
875 mm
LaBr detector array suitable for
    Cylindric scattering chamber → 13 detectors → Solid angle: 2.4%
    Ball scattering chamber → 17 detectors → Solid angle: 3.2%
Detectors predominantly at backward angles → improved Peak/Background ratio
e
e‘

## Slide 19: LaBr Detector Housings
LaBr:Ce t = 0.5 ns
Lead shield for background reduction
Front lead shield 5 mm:
317 mm
166 mm
Al housing
Pb shielding
Cu shielding
LaBr
PMT
Pb front shield
Eγ (MeV)
Data from NIST

## Slide 20: Influence of QClam Quadrupole
QClam quadrupole close to the detectors (PMTs)
CST simulation → max. ≈ 3 mT at PMT
Test using permanent magnet
No magnetic shielding necessary
θe= 90°
e
e‘
2 mT
2.5 mT
3 mT
22Na
1275 keV
e
e‘

## Slide 21: LaBr Data Acquisition
DAQ established
    Adapted from GALATEA
    MBS based DAQ
    Δt ≈ 60 ps
    ROOT based data analysis
DAQ tests
    Lab tests
    Beamtime 2017 at Lintott
    Neutron source activation measurement

## Slide 22: Test at Lintott
Eγ (MeV)
Ee (channel)
1.2 m
LaBr DAQ tested at Lintott
Data from e and γ successfully merged
No coincidence events due to low efficiency
12C(e,e‘γ) Ee=42 MeV
e
e‘
0
20
80
40
60
100
120
counts
counts

## Slide 23: Outline
Principle of (e,e‘γ)
Theoretical considerations
Gamma-decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 24: Schedule
Parasitic tests during QClam commissioning
LaBr detector array set up by Jan. 2019
Commissioning tests during 14C experiment (A03, M. Mathy) in Feb./Mar. 2019
(e,e’γ)-production April 2019

## Slide 25: Outline
Principle of (e,e‘γ)
Gamma Decay of GDR
Vorticity
Status and Achievements
Schedule
Summary

## Slide 26: Summary
Beam ü
Halo scraper ü
Spectrometer ü
DAQ ü
Commissioning: pending (start Sept. 2018)
Array set-up: Jan. 2019
First production run: April 2019

## Slide 27
Thank you for your attention!

## Slide 29
Eγ (MeV)
counts

## Slide 30: Rotation of the Angular Distribution
Scattering plane:
Notes: Furthermore, we like to investigate the rotation of the Angular distribution of the gamma decay of excited states. Here we again have the cross section for the e, e prime gamma reaction in PWBA, with the scattering angle for the electron "theta e" and the scattering angles "theta gamma" and "phi gamma". The cross section is separated into three terms. These are the longitudinal, the transversal and a mixed term consisting of the longitudinal and the transversal form factors. Each term has a contribution of the electron which is given by the kinematics of the scattering process, contribution of the formfactor and of the emitted gamma radiation, which is the part we are interested in for this experiment. In general longitudinal form factor is at least one order of magnitude larger than the transversal form factor. Hence the summand containing only the transversal form factor can be neglected. For a transition of an exited 2 plus state the contributions of the gamma decay in the scattering plane – so we are only considering the azimuthal part - are given by these two equations. For a fixed electron scattering angle the differential cross section is proportional to this. This figure is showing the angular distribution relative to the momentum transfer axis for different values of a in the scattering plane. An increasing positive factor a shifts the angular distribution clockwise, a change of the sign of a leads to a counter clockwise rotation. This figure shows the amplitude as a function of the polar angle of the photon emission. Here also the shift can clearly be seen.